Specification

Model No.: 		PHL4108

Input: 			220-240V, 50-60Hz

Sensor Type:		PIR

Max:			2000W incandescent,

600W fluorescent

200W LED lamp

Rating: 		IP20

Cut-out:		Ø63mm

Fitting Colour:		White, Black and Brush Chrome

Detection Area:		about 360°, radius 4.5m (when installed 2.8m high)

Duration Time: 		10+/-5 seconds to 4+/-1 minutes adjustable

Lux Control:		Daylight and night adjustable

Sensitive Adjustable:	No

Override Function:	No